## GrainSize
Sample/site | PCB (ng/L) | %<25um incl. dissolved | %25-75 um | %>75 um
Z4-201 | 17 | 73 | 13 | 14
Z4-203 | 30 | 49 | 23 | 28
Z4-204 | 23 | 46 | 21 | 33
Z4-205 | 29 | 38 | 31 | 31
RS-1003 | 38 | 28 | 26 | 46
RS-1004 | 17 | 51 | 16 | 33
Range | 17 - 38 | 28 - 73 % | 13 - 31% | 14 - 46%
Average | 25.6667 | 47.5% | 21.67% | 30.83%

## RWSM Flow & Annual Loads
** using numbers for the well-sampled watershed set | Calibration Coefficients | Ag/Open/New Urban | Old Industrial + Source Areas | Old Residential | Old Commercial + Old Transportation
| Low estimate (-25% of best) | 0.2 | 100 | 4 | 20
| Best Estimate | 0.2 | 201 | 4 | 50
| High Estimate (+25% of best) | 0.2 | 400 | 16 | 70
|  |  |  | Land Use Runoff Vol | [6 empty] | Avg Annual Precip | RWSM base loads summary table
Watershed Name | PCBs Load -Low Estimate (g) | PCBs Load -Best Estimate (g) | PCBs Load -High Estimate (g) | Ag/Open/New Urban | Old Industrial + Dirty SAs | Old Residential | Old Comm+Trans | Precip Volume on Watershed | Runoff Coefficient | % Imperviousness | Precip (mm) - 5 inches | Watershed | Tot. Area (km2) | Tot. Runoff Vol. (m3) | LU 1.0 Null Tot. Area (km2) | LU 1.0 Null Tot. Runoff Vol. (m3) | LU 2.0 Open Tot. Area (km2) | LU 2.0 Open Tot. Runoff Vol. (m3) | LU 3.0 Agriculture Tot. Area (km2) | LU 3.0 Agriculture Tot. Runoff Vol. (m3) | LU 4.0 Residential Tot. Area (km2) | LU 4.0 Residential Tot. Runoff Vol. (m3) | LU 5.0 Commercial Tot. Area (km2) | LU 5.0 Commercial Tot. Runoff Vol. (m3) | LU 6.0 Industrial Tot. Area (km2) | LU 6.0 Industrial Tot. Runoff Vol. (m3) | LU 7.0 Transportation Tot. Area (km2) | LU 7.0 Transportation Tot. Runoff Vol. (m3) | LU 8.0 Industrial Tot. Area (km2) | LU 8.0 Industrial Tot. Runoff Vol. (m3) | LU 9.0 Residential Tot. Area (km2) | LU 9.0 Residential Tot. Runoff Vol. (m3) | LU 10.0 Commercial Tot. Area (km2) | LU 10.0 Commercial Tot. Runoff Vol. (m3) | LU 11.0 Transportation Tot. Area (km2) | LU 11.0 Transportation Tot. Runoff Vol. (m3) | LU 12.0 Tot. Area (km2) | LU 12.0 Tot. Runoff Vol. (m3)
Atherton Ck | 74.006 | 160.691 | 279.2005 | 469066.4277 | 366920.7043 | 1034020.675 | 1654201.212 | 14903503.43 | 0.23647 | 34% | 522 | Atherton Ck | 22.9638 | 3524209.0192 | 0.089963 | 355.585 | 2.4016 | 282481.0908 | 0 | 0 | 0.45015 | 47235.6294 | 0.0011899 | 202.9018 | 0.2198 | 57261.09 | 0.1557 | 81530.1307 | 1.1261 | 310760.9933 | 12.2089 | 1034020.6749 | 2.3529 | 527185.5734 | 3.7429 | 1127015.6389 | 0.21459 | 56159.711
Bayfront Park | 0.60935 | 1.5075 | 2.1062 | 53043.3671 | 0 | 0 | 29937.1458 | 353300.4194 | 0.23487 | 12% | 451 | Bayfront Park | 0.61125 | 82980.513 | 3.7896e-05 | 3.6525 | 0.001408 | 62.5552 | 0 | 0 | 0 | 0 | 0.35422 | 46374.3784 | 0.026091 | 6602.7811 | 0 | 0 | 0 | 0 | 0 | 0 | 0.22949 | 29937.1458 | 0 | 0 | 0 | 0
Cordilleras Ck | 30.241 | 71.226 | 107.6698 | 329246.7793 | 16782.9444 | 575900.1986 | 1309663.06 | 7158391.659 | 0.31175 | 22% | 637 | Cordilleras Ck | 9.3696 | 2231592.9823 | 0.00050035 | 145.5623 | 2.0765 | 328414.5397 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00040726 | 152.0329 | 0.0017145 | 534.6443 | 0.037718 | 11069.8171 | 4.5102 | 575900.1986 | 0.19555 | 53602.3836 | 2.5277 | 1256060.6764 | 0.019305 | 5713.1272
Pulgas Ck | 51.9894 | 110.9711 | 198.3341 | 190346.6599 | 301521.2801 | 695132.4814 | 950934.4636 | 6630890.255 | 0.32242 | 40% | 594 | Pulgas Ck | 9.1968 | 2137934.885 | 0 | 0 | 0.66476 | 109774.5491 | 0.011383 | 4359.907 | 0 | 0 | 0.00031997 | 56.3885 | 0.13813 | 57500.3267 | 0.059826 | 18655.4886 | 0.55219 | 166487.1193 | 4.8128 | 695132.4814 | 0.66697 | 178701.687 | 1.8268 | 772232.7766 | 0.46365 | 135034.1608
Redwood Ck & Arroyo Ojo de Agua Ck | 77.6594 | 175.25 | 282.1507 | 971374.5958 | 137413.3479 | 1978965.757 | 2790394.806 | 21404371.74 | 0.27462 | 39% | 561 | Redwood Ck & Arroyo Ojo de Agua Ck | 31.111 | 5878148.5073 | 0.10162 | 5242.3661 | 2.0319 | 329392.2558 | 0 | 0 | 0.50077 | 54052.1887 | 1.0327 | 244134.2015 | 0.4271 | 120039.0559 | 0.59721 | 218514.5278 | 0.3235 | 98877.7285 | 17.4928 | 1978965.7574 | 2.4939 | 651721.0925 | 5.9708 | 2138673.7137 | 0.13879 | 38535.6194
Redwood Shores Lagoon | 2.1441 | 4.7484 | 7.3849 | 670128.8216 | 2332.9429 | 49429.4831 | 78954.2629 | 2791549.065 | 0.28688 | 43% | 488 | Redwood Shores Lagoon | 4.5391 | 800845.5104 | 0.31426 | 196.595 | 0.54263 | 54166.9771 | 0.019501 | 2390.9802 | 1.5535 | 231588.4383 | 0.57624 | 142613.7078 | 0.26874 | 76905.7848 | 0.52543 | 162266.3384 | 0 | 0 | 0.473 | 49429.4831 | 0.009584 | 1896.6847 | 0.24791 | 77057.5782 | 0.0082983 | 2332.9429
SMC_unk15 | 49.8959 | 101.3033 | 198.2063 | 91375.8099 | 469704.0792 | 65580.5088 | 132243.8211 | 1770048.001 | 0.42875 | 66% | 509 | SMC_unk15 | 2.7831 | 758904.2189 | 0.0078729 | 0 | 0.047238 | 5161.0832 | 0 | 0 | 0.016066 | 1326.3363 | 0.20794 | 57381.378 | 0.039347 | 11871.9505 | 0.049918 | 15635.0618 | 0.29601 | 91355.8305 | 0.40365 | 65580.5088 | 0.12068 | 37953.2395 | 0.27587 | 94290.5816 | 1.3185 | 378348.2487
Pulgas Ck minus Pulgas South | 40.7279 | 87.5584 | 154.0841 | 186682.5284 | 204789.1268 | 695120.1524 | 871559.9275 | 6143844.431 | 0.31872 | 37% | 588 | PulgasCk - PulgasPSSouth | 8.5928 | 1958151.7351 | 0 | 0 | 0.66393 | 109670.6638 | 0.011383 | 4359.907 | 0 | 0 | 0.00031997 | 56.3885 | 0.12656 | 54037.5057 | 0.05952 | 18558.0634 | 0.23175 | 70602.3508 | 4.8127 | 695120.1524 | 0.48979 | 128480.668 | 1.7362 | 743079.2595 | 0.46065 | 134186.7761
PulgasCreekPumpStationSouth | 11.2615 | 23.4127 | 44.25 | 3664.1316 | 96732.1533 | 12.329 | 79374.536 | 382336.4658 | 0.47022 | 86% | 506 | PulgasCreekPumpStationSouth | 0.60401 | 179783.1499 | 0 | 0 | 0.00083457 | 103.8853 | 0 | 0 | 0 | 0 | 0 | 0 | 0.011573 | 3462.821 | 0.00030568 | 97.4252 | 0.32044 | 95884.7686 | 9.0229e-05 | 12.329 | 0.17718 | 50221.019 | 0.090586 | 29153.517 | 0.0029998 | 847.3847
PulgasCreekPumpStationNorth | 12.4693 | 25 | 49.5745 | 14505.0652 | 118426.5801 | 8877.612 | 29413.6124 | 376274.2775 | 0.45505 | 83% | 513 | PulgasCreekPumpStationNorth | 0.58793 | 171222.8697 | 0 | 0 | 0.00090438 | 128.1978 | 0 | 0 | 0 | 0 | 0 | 0 | 0.047902 | 14376.8674 | 0 | 0 | 0.22301 | 67425.2662 | 0.046998 | 8877.612 | 0.023459 | 6738.7053 | 0.069995 | 22674.9071 | 0.17566 | 51001.3139
Watershed Name | PCBs Load -Low Estimate (g) | PCBs Load -Best Estimate (g) | PCBs Load -High Estimate (g) | Ag/Open/New Urban | Old Industrial + Dirty SAs | Old Residential | Old Comm+Trans | Precip Volume on Watershed | Runoff Coefficient | % Imperviousness | Precip (mm) - 5 inches | Watershed | Tot. Area (km2) | Tot. Runoff Vol. (m3) | LU 1.0 Null Tot. Area (km2) | LU 1.0 Null Tot. Runoff Vol. (m3) | LU 2.0 Open Tot. Area (km2) | LU 2.0 Open Tot. Runoff Vol. (m3) | LU 3.0 Agriculture Tot. Area (km2) | LU 3.0 Agriculture Tot. Runoff Vol. (m3) | LU 4.0 Residential Tot. Area (km2) | LU 4.0 Residential Tot. Runoff Vol. (m3) | LU 5.0 Commercial Tot. Area (km2) | LU 5.0 Commercial Tot. Runoff Vol. (m3) | LU 6.0 Industrial Tot. Area (km2) | LU 6.0 Industrial Tot. Runoff Vol. (m3) | LU 7.0 Transportation Tot. Area (km2) | LU 7.0 Transportation Tot. Runoff Vol. (m3) | LU 8.0 Industrial Tot. Area (km2) | LU 8.0 Industrial Tot. Runoff Vol. (m3) | LU 9.0 Residential Tot. Area (km2) | LU 9.0 Residential Tot. Runoff Vol. (m3) | LU 10.0 Commercial Tot. Area (km2) | LU 10.0 Commercial Tot. Runoff Vol. (m3) | LU 11.0 Transportation Tot. Area (km2) | LU 11.0 Transportation Tot. Runoff Vol. (m3) | LU 12.0 Tot. Area (km2) | LU 12.0 Tot. Runoff Vol. (m3)
IndustrialRdDitch | 6.0829 | 12.3477 | 24.2081 | 352.4698 | 58359.3253 | 0 | 12347.2666 | 28893.4161 | 2.4594 |  |  | IndustrialRdDitch | 0.22751 | 71059.0617 | 0 | 0 | 0.00019962 | 15.4862 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0010828 | 336.9836 | 0 | 0 | 0.17022 | 52824.1706 | 0 | 0 | 0.0056486 | 1855.8767 | 0.03182 | 10491.3899 | 0.018532 | 5535.1547
TaylorWaySD | 2.3353 | 5.0384 | 8.918 | 449.3728 | 14203.2613 | 17281.1747 | 42286.7787 | 34414.2809 | 2.1567 |  |  | TaylorWaySD | 0.27098 | 74220.5875 | 0 | 0 | 0.0011113 | 167.9935 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00088768 | 281.3793 | 0 | 0 | 0.030668 | 9516.7686 | 0.10349 | 17281.1747 | 0.049986 | 15976.5714 | 0.069145 | 26310.2074 | 0.015691 | 4686.4927
OddstadPS | 1.8143 | 4.0365 | 6.8327 | 25120.9946 | 9839.8224 | 1593.8549 | 40946.4774 | 35610.4854 | 2.1764 |  |  | OddstadPS | 0.2804 | 77501.1493 | 0 | 0 | 0.011385 | 1498.6645 | 0 | 0 | 0 | 0 | 0.067626 | 18526.1163 | 0.0078593 | 2336.2047 | 0.0090367 | 2760.0091 | 0.031678 | 9016.215 | 0.0089598 | 1593.8549 | 0.064931 | 17988.4757 | 0.075916 | 22958.0017 | 0.0030064 | 823.6074
PulgasCreekPumpStationNorth | 11.8723 | 24.1003 | 47.2078 | 14491.9554 | 112964.0646 | 6826.7883 | 27286.3879 | 70057.1349 | 2.3062 |  |  | PulgasCreekPumpStationNorth | 0.55163 | 161569.1963 | 0 | 0 | 0.00081258 | 115.0881 | 0 | 0 | 0 | 0 | 0 | 0 | 0.047902 | 14376.8674 | 0 | 0 | 0.22158 | 66983.5306 | 0.036082 | 6826.7883 | 0.023357 | 6708.5722 | 0.063602 | 20577.8157 | 0.15829 | 45980.534
PulgasCreekPumpStationSouth | 10.9818 | 22.8144 | 43.1683 | 3592.926 | 94674.4847 | 12.329 | 75680.5152 | 74130.7084 | 2.3467 |  |  | PulgasCreekPumpStationSouth | 0.58371 | 173960.2549 | 0 | 0 | 0.00083457 | 103.8853 | 0 | 0 | 0 | 0 | 0 | 0 | 0.011334 | 3391.6155 | 0.00030568 | 97.4252 | 0.31367 | 93827.2218 | 9.0229e-05 | 12.329 | 0.17053 | 48665.1532 | 0.083942 | 27015.362 | 0.0029993 | 847.2629
VeteransPS | 3.2893 | 7.2976 | 12.3296 | 2529.6126 | 15150.6706 | 30411.2847 | 82604.1967 | 66333.7333 | 1.9703 |  |  | VeteransPS | 0.52231 | 130695.7646 | 0 | 0 | 0.015981 | 2157.4665 | 0 | 0 | 0 | 0 | 0 | 0 | 0.001275 | 372.1461 | 0 | 0 | 0.037929 | 10990.5738 | 0.17792 | 30411.2847 | 0.088505 | 24717.9577 | 0.18595 | 57886.239 | 0.014752 | 4160.0968
2.8025
Watershed | Commercial | Open | Residential | Industrial | Transportation | Total
Atherton Ck | 2.3541 | 2.4916 | 12.6591 | 1.5605 | 3.8986 | 22.9638
Bayfront Park | 0.58371 | 0.0014459 | 0 | 0.026091 | 0 | 0.61125
Cordilleras Ck | 0.19555 | 2.077 | 4.5102 | 0.05743 | 2.5294 | 9.3696
Pulgas Ck | 0.66729 | 0.67615 | 4.8128 | 1.154 | 1.8866 | 9.1968
Redwood Ck & Arroyo Ojo de Agua Ck | 3.5266 | 2.1335 | 17.9936 | 0.8894 | 6.568 | 31.111
Redwood Shores Lagoon | 0.58582 | 0.87639 | 2.0265 | 0.27704 | 0.77334 | 4.5391
SMC_unk15 | 0.32862 | 0.055111 | 0.41972 | 1.6539 | 0.32579 | 2.7831
Total PMU | 8.2416 | 8.3112 | 42.4218 | 5.6183 | 15.9818 | 80.5747
Yield
|  | AthertonCreek | 6.9976
|  | BayfrontPark | 2.4662 |  | 63
|  | CordillerasCreek | 7.6018 |  | 8.0049
|  | RedwoodCkandArroyoOjodeAguaCk | 5.6331
|  | RedwoodShoresLagoonWater | 1.0461 |  | 7.8702
|  | SMC_unk15 | 36.3995
|  | PulgasCk - PulgasPSSouth | 10.1898
|  | PulgasCreekPumpStationSouth | 38.7622
|  | PulgasCreek | 12.0663
|  | PulgasCreekPumpStationNorth | 42.5222

## Load per Storm Recurrence
| Area (km2) | Long Term (40 year) Avg Annual Load (g) | Long Term (40 year) Avg Annual Yield (g/km2) | Summer and winter non-storm flow PCB load | Avg storm load estimate (g) | Return Interval of Avg storm used | % of load in avg storm | % of load in 1:1 yr storm | % of load in 1:5 yr storm | % of load in 1:10 yr storm | Eqn describing % of load transported at various return intervals (x)
Sunnyvale East Ch | 15.19 | 134 | 9.44 | NA | 0.55 | < 0.25 | 0.4104% | 4.7% | 9.544% | 11.63% | y = 0.0301ln(x) + 0.047 | R² = 0.52 | most like Emeryville Crescent North in terms of Land Use; and possibly Temescal Ck | 25 events > .2 year return interval | max return interval storm = 2.75 yr return
Z4LA | 4.17 | 14.6 | 3.5012 | 5% | 0.26 | 0.4 | 1.8% | 5.2% | 10.08% | 12.18% | y = 0.0303ln(x) + 0.052 | R² = 0.79 |  |  | max return interval storm = 25 yr return
N Richmond PS | 1.96 | 11.4451 | 5.8393 | 7% | 0.19 | < 0.25 | 1.7% | 4.59% | 9.628% | 11.8% | y = 0.0313ln(x) + 0.0459 | R² = 0.76 | most comparable to Ettie St. PS in terms of land use | 15 events > 0.25 year return interval | max return interval storm = 1 yr return
| Long Term (40 year) Avg Annual Load (g) | Long Term (40 year) Avg Annual Yield (g/km2) | Summer and winter non-storm flow PCB load (g) - 6% | Avg storm load estimate (g) |  | Load in 1:1 yr storm (g) |  | Load in 1:5 yr storm (g) |  | Load in 1:10 yr storm (g) |  |  |  | Low | High
|  |  |  | Low | High | Low | High | Low | High | Low | High |  | % of load in avg storm | 0.4% | 1.8%
Atherton Ck | 160.691 | 6.9976 | 9.6415 | 0.64276 | 2.8924 | 7.3918 | 8.3559 | 15.2656 | 16.2298 | 18.6402 | 19.6043 |  | % of load in 1:1 yr storm | 4.6% | 5.2%
Bayfront Park | 1.5075 | 2.4662 | 0.090448 | 0.0060299 | 0.027134 | 0.069343 | 0.078388 | 0.14321 | 0.15225 | 0.17487 | 0.18391 |  | % of load in 1:5 yr storm | 9.5% | 10.1%
Cordilleras Ck | 71.226 | 7.6018 | 4.2736 | 0.2849 | 1.2821 | 3.2764 | 3.7038 | 6.7665 | 7.1938 | 8.2622 | 8.6896 |  | % of load in 1:10 yr storm | 11.6% | 12.2%
Pulgas Ck | 110.9711 | 12.0663 | 6.6583 | 0.44388 | 1.9975 | 5.1047 | 5.7705 | 10.5423 | 11.2081 | 12.8726 | 13.5385
Redwood Ck & Arroyo Ojo de Agua Ck | 175.25 | 5.6331 | 10.515 | 0.701 | 3.1545 | 8.0615 | 9.113 | 16.6487 | 17.7002 | 20.329 | 21.3805
Redwood Shores Lagoon | 4.7484 | 1.0461 | 0.2849 | 0.018994 | 0.085471 | 0.21843 | 0.24692 | 0.4511 | 0.47959 | 0.55081 | 0.5793
SMC_unk15 | 101.3033 | 36.3995 | 6.0782 | 0.40521 | 1.8235 | 4.66 | 5.2678 | 9.6238 | 10.2316 | 11.7512 | 12.359
Total for Margin Unit | 625.6972 | 10.3158 | 37.5418 | 2.5028 | 11.2625 | 28.7821 | 32.5363 | 59.4412 | 63.1954 | 72.5809 | 76.3351
Margin Unit Larger Watershed | Area (km2) | Annual Precip (m) - source RWSM | Annual Precip Volume on Catchment (m3) | Avg Annual Runoff Volume (m3) - source RWSM | Average Annual Runoff Coefficient | Est Annual Low Flow Vol (m3) - 13% based on Z4LA | Est Annual Low Flow Vol Yield (10^3 m^3 / km2) - 13% based on Z4LA | Est Rainfall (mm) of Avg storm event (0.5 yr RI) - source: NOAA Atlas 14 | Est Avg storm (0.5 yr/24hr RI) volume (m3) | Est 1 yr/24hr storm event (mm) - source: NOAA Atlas 14 | Est 1yr/24hr storm event volume (m3) | Est 5yr/24hr storm event (mm) - source: NOAA Atlas 14 | Est 5yr/24hr storm event volume (m3) | Est 10 yr/24hr storm event (mm) - source: NOAA Atlas 14 | Est 10yr/24hr storm event volume (m3) | [5 empty] | 31.75
Sunnyvale | 15.1929 | 0.42703 | 6487913.295 | 2833297.2658 | 0.4367 | 368328.6445 | 24.2434 | 23.876 | 134603.6973 | 37.338 | 232752.6512 | 59.182 | 450828.1226 | 70.104 | 575813.7737 | reference only |  | Redwood Shores Lagoon & Bayfront | SMC_unk15 & Pulgas & Atherton | Cordilleras Ck, Redwood Ck & Arroyo Ojo de Agua Ck
Nrichmond | 1.961 | 0.60018 | 1176981.52 | 694326.0551 | 0.58992 | 90262.3872 | 46.0279 | 31.242 | 25332.4698 | 51.054 | 54644.8691 | 83.058 | 138943.3655 | 99.06 | 165712.2708 | reference only | 0.5 | 1 | 1.2 | 1.25
Emeryville Crescent North | 3.7137 | 0.59824 | 2221705.975 | 1226719.5052 | 0.55215 | 159473.5357 | 42.9419 | 32.512 | 49923.3849 | 48.768 | 98849.8908 | 82.804 | 262318.7261 | 98.298 | 359706.9819 |  | 1 | 1.61 | 1.74 | 1.85
Ettie St. Pump Station | 4.5863 | 0.57527 | 2638384.78 | 1481877.4372 | 0.56166 | 192644.0668 | 42.004 | 32.512 | 61654.0442 | 48.768 | 122076.9695 | 82.804 | 323956.6059 | 98.298 | 444228.4954 |  | 2 | 2.09 | 2.23 | 2.35
Temescal Ck | 10.6338 | 0.63794 | 6783776.06 | 3296086.7526 | 0.48588 | 428491.2778 | 40.295 | 32.512 | 128288.4325 | 48.768 | 212778.0987 | 82.804 | 441490.2041 | 98.298 | 565109.1319 |  | 5 | 2.73 | 2.89 | 3.02
Atherton Ck | 22.9638 | 0.522 | 14903503.4271 | 3524209.0192 | 0.23647 | 458147.1725 | 19.9508 | 30.48 | 289408.4838 | 44.2 | 553986.8751 | 73.4 | 1437838.126 | 87.1 | 1970871.451 |  | 10 | 3.25 | 3.43 | 3.58
Bayfront Park | 0.61125 | 0.451 | 353300.4194 | 82980.513 | 0.23487 | 10787.4667 | 17.6483 | 25.4 | 6419.5214 | 40.9 | 13644.9879 | 69.3 | 36134.3136 | 82.55 | 49719.8558 |  | 25 | 3.95 | 4.18 | 4.36
Cordilleras Ck | 9.3696 | 0.637 | 7158391.6589 | 2231592.9823 | 0.31175 | 290107.0877 | 30.9625 | 31.75 | 110387.3171 | 47 | 180684.739 | 76.7 | 360326.9581 | 90.9 | 460450.7272
Pulgas Ck | 9.1968 | 0.594 | 6630890.2546 | 2137934.885 | 0.32242 | 277931.5351 | 30.2205 | 30.48 | 104017.1353 | 44.2 | 166786.2951 | 73.4 | 338463.5684 | 87.1 | 433063.8301
Redwood Ck & Arroyo Ojo de Agua Ck | 31.111 | 0.561 | 21404371.7357 | 5878148.5073 | 0.27462 | 764159.3059 | 24.5623 | 31.75 | 366531.3505 | 47 | 599947.7398 | 76.7 | 1196433.884 | 90.9 | 1528886.029 |  | 0.5 | 25.4 | 30.48 | 31.75
Redwood Shores Lagoon | 4.5391 | 0.488 | 2791549.0647 | 800845.5104 | 0.28688 | 104109.9164 | 22.9362 | 25.4 | 47671.2442 | 40.9 | 101327.421 | 69.3 | 268332.7273 | 82.55 | 369218.7059 |  | 1 | 40.894 | 44.196 | 46.99
SMC_unk15 | 2.7831 | 0.509 | 1770048.0007 | 758904.2189 | 0.42875 | 98657.5485 | 35.4489 | 30.48 | 35074.8249 | 44.2 | 67140.3698 | 73.4 | 174258.6112 | 87.1 | 238859.5181 |  | 2 | 53.086 | 56.642 | 59.69
[17 empty] | 5 | 69.342 | 73.406 | 76.708
[17 empty] | 10 | 82.55 | 87.122 | 90.932
North Richmond (used as reference for Emeryville Crescent North and Ettie St Pump Station) |  |  | Sunyvale (used as reference for Temescal Ck) | [13 empty] | 25 | 100.33 | 106.172 | 110.744
Runoff Coefficient as a function of Return Interval |  |  | Runoff Coefficient as a function of Return Interval
yrs | USE THIS LOG FUNCTION |  | yrs | USE THIS LOG FUNCTION
0.25 | 0.28116 |  | 0.25 | 0.33184
0.5 | 0.41348 |  | 0.5 | 0.37107
1 | 0.5458 |  | 1 | 0.4103
2 | 0.67812 |  | 2 | 0.44953
5 | 0.85304 |  | 5 | 0.50139
10 | 0.98536 |  | 10 | 0.54063
| y = 0.1909ln(x) + 0.5458 |  |  | y = 0.0566ln(x) + 0.4103
| R² = 0.8855 |  |  | R² = 0.7732
select high values only used

## Annual Load Summary
Watershed | Total Area (km2) | Total Runoff Volume (Mm3) | PCBs Load -Low Estimate (g) | PCBs Load -Best Estimate (g) | PCBs Load -High Estimate (g) | PCBs Yield -Best Estimate (ug/m2) | Method | Total Precip Volume (Mm3) | Runoff Coefficient
Atherton Ck | 22.9638 | 3.5242 | 74.006 | 160.691 | 279.2005 | 6.9976 | RWSM flows and RWSM estimated PCB concentrations using well-sampled watersheds for calibration of PCB model | 14.9035 | 23.65%
Bayfront Park | 0.61125 | 0.082981 | 0.60935 | 1.5075 | 2.1062 | 2.4662 | RWSM flows and RWSM estimated PCB concentrations using well-sampled watersheds for calibration of PCB model | 0.3533 | 23.49%
Cordilleras Ck | 9.3696 | 2.2316 | 30.241 | 71.226 | 107.6698 | 7.6018 | RWSM flows and RWSM estimated PCB concentrations using well-sampled watersheds for calibration of PCB model | 7.1584 | 31.17%
Pulgas Ck | 9.1968 | 2.1379 | 51.9894 | 110.9711 | 198.3341 | 12.0663 | RWSM flows and RWSM estimated PCB concentrations using well-sampled watersheds for calibration of PCB model | 6.6309 | 32.24%
Redwood Ck & Arroyo Ojo de Agua Ck | 31.111 | 5.8781 | 77.6594 | 175.25 | 282.1507 | 5.6331 | RWSM flows and RWSM estimated PCB concentrations using well-sampled watersheds for calibration of PCB model | 21.4044 | 27.46%
Redwood Shores Lagoon | 4.5391 | 0.80085 | 2.1441 | 4.7484 | 7.3849 | 1.0461 | RWSM flows and RWSM estimated PCB concentrations using well-sampled watersheds for calibration of PCB model | 2.7915 | 28.69%
SMC_unk15 | 2.7831 | 0.7589 | 49.8959 | 101.3033 | 198.2063 | 36.3995 | RWSM flows and RWSM estimated PCB concentrations using well-sampled watersheds for calibration of PCB model | 1.77 | 42.87%
Total for Margin Unit | 80.5747 | 15.4146 | 286.5451 | 625.6972 | 1075.0525 | 7.7654 |  | 55.0121 | 28.02%

## % Dissolved v Land Use
Watershed | PCB FWMC (ng/L) | Intercept | % Dissolved | % Impervious | % Old Industrial | Estimated % Dissolved based on:
[6 empty] | % Impervious | % Old Industrial
Z4LA | 14.7 | 1.4 | 9.524% | 68.16% | 8.84%
Marsh Ck | 1.97 | 0.177 | 8.985% | 9.834% | 0.285%
N. Richmond PS | 8.27 | 1.92 | 23.22% | 62.39% | 6.52%
Sunnyvale East Ch | 55.7 | 4.5 | 8.079% | 58.83% | 3.276%
Pulgas Ck PS - South | 137 | 30.6 | 22.34% | 86.91% | 45.86%
Ettie St PS | 58.6 | 12.5 | 21.33% | 75.9% | 9.846%
Duane Ct and Ave Triangle SD (SC-049CZC200) |  |  | 33.89% | 79.3% | 23.16%
Victor Nelo PS Outfall (SC-050GAC190) |  |  | 12.35% | 86.5% | 3.957%
Forbes Blvd Outfall (SM-319) |  |  | 2.532% | 79.1% | 1e-05%
Taylor Way SD (SM-32) |  |  | 18.08% | 67.1% | 11.34%
Tunnel Ave Ditch (SM-350/368/more) |  |  | 5.739% | 47.1% | 7.86%
Atherton Ck |  |  |  | 34% | 5.838% | 10.09% | 12.85%
Bayfront Park |  |  |  | 12% | 0% | 6.603% | 10.32%
Cordilleras Ck |  |  |  | 22% | 0.6086% | 8.189% | 10.58%
Pulgas Ck |  |  |  | 40% | 11.05% | 11.04% | 15.11%
Redwood Ck & Arroyo Ojo de Agua Ck |  |  |  | 39% | 1.486% | 10.89% | 10.96%
Redwood Shores Lagoon |  |  |  | 43% | 0.1828% | 11.52% | 10.4%
SMC_unk15 |  |  |  | 66% | 58.01% | 15.17% | 35.5%

## Section Summary Table
Annual PCB loads transported during different flow and partitioning characteristics (g)
Watershed | Total Area (km2) | Total Runoff Volume (Mm3) | Total Annual Load -Best Estimate | 1During storms | 2During non-storm flow | 3During storms smaller than the 1:1 year event | 41:10 year event | 5Dissolved phase during storms | 6Assoc. With particles <25 μm during storms | 7Assoc. With particles 25-75 μm during storms | 8Assoc. With particles >75 μm during storms | 9Dissolved phase during non-storm periods
Atherton Ck | 22.9638 | 3.5242 | 160.691 | 151.0496 | 9.6415 | 147.8357 | 22.4967 | 17.3301 | 51.2063 | 32.7274 | 46.5736 | 7.8096
Bayfront Park | 0.61125 | 0.082981 | 1.5075 | 1.417 | 0.090448 | 1.3869 | 0.21105 | 0.1199 | 0.48037 | 0.30702 | 0.43691 | 0.073263
Cordilleras Ck | 9.3696 | 2.2316 | 71.226 | 66.9524 | 4.2736 | 65.5279 | 9.9716 | 6.2846 | 22.6971 | 14.5064 | 20.6437 | 3.4616
Pulgas Ck | 9.1968 | 2.1379 | 110.9711 | 104.3128 | 6.6583 | 102.0934 | 15.536 | 13.643 | 35.3624 | 22.6011 | 32.1631 | 5.3932
Redwood Ck & Arroyo Ojo de Agua Ck | 31.111 | 5.8781 | 175.25 | 164.735 | 10.515 | 161.23 | 24.535 | 17.9975 | 55.8458 | 35.6926 | 50.7933 | 8.5171
Redwood Shores Lagoon | 4.5391 | 0.80085 | 4.7484 | 4.4635 | 0.2849 | 4.3685 | 0.66477 | 0.48918 | 1.5131 | 0.96709 | 1.3762 | 0.23077
SMC_unk15 | 2.7831 | 0.7589 | 101.3033 | 95.2251 | 6.0782 | 93.199 | 14.1825 | 24.1227 | 32.2817 | 20.6321 | 29.3611 | 4.9233
Total for Margin Unit | 80.5747 | 15.4146 | 625.6972 | 588.1554 | 37.5418 | 538.0996 | 87.5976 | 79.987 | 199.3868 | 127.4337 | 181.3479 | 30.4089
[8 empty] | Dissolved phase during storms5 | <25 μm transported during storms6 | 25-75 μm transported during storms7 | >75 μm transported during storms8
[8 empty] | 13.6% | 33.9% | 21.67% | 30.83%
Copy and pasted the values into this table
Annual PCB loads transported during different flow and partitioning characteristics (g)
Watershed | Total Area (km2) | Total Runoff Volume (Mm3) | Total Annual Load -Best Estimate | 1During storms | 2During non-storm flow | 3During storms smaller than the 1:1 year event | 41:10 year event | 5Dissolved phase during storms | 6Assoc. With particles <25 μm during storms | 7Assoc. With particles 25-75 μm during storms | 8Assoc. With particles >75 μm during storms | 9Dissolved phase during non-storm periods
Atherton Ck | 22.9638 | 3.5242 | 160.691 | 151.0496 | 9.6415 | 147.8357 | 22.4967 | 17.3301 | 51.2063 | 32.7274 | 46.5736 | 7.8096
Bayfront Park | 0.61125 | 0.082981 | 1.5075 | 1.417 | 0.090448 | 1.3869 | 0.21105 | 0.1199 | 0.48037 | 0.30702 | 0.43691 | 0.073263
Cordilleras Ck | 9.3696 | 2.2316 | 71.226 | 66.9524 | 4.2736 | 65.5279 | 9.9716 | 6.2846 | 22.6971 | 14.5064 | 20.6437 | 3.4616
Pulgas Ck | 9.1968 | 2.1379 | 110.9711 | 104.3128 | 6.6583 | 102.0934 | 15.536 | 13.643 | 35.3624 | 22.6011 | 32.1631 | 5.3932
Redwood Ck & Arroyo Ojo de Agua Ck | 31.111 | 5.8781 | 175.25 | 164.735 | 10.515 | 161.23 | 24.535 | 17.9975 | 55.8458 | 35.6926 | 50.7933 | 8.5171
Redwood Shores Lagoon | 4.5391 | 0.80085 | 4.7484 | 4.4635 | 0.2849 | 4.3685 | 0.66477 | 0.48918 | 1.5131 | 0.96709 | 1.3762 | 0.23077
SMC_unk15 | 2.7831 | 0.7589 | 101.3033 | 95.2251 | 6.0782 | 93.199 | 14.1825 | 24.1227 | 32.2817 | 20.6321 | 29.3611 | 4.9233
Total for Margin Unit | 80.5747 | 15.4146 | 625.6972 | 588.1554 | 37.5418 | 538.0996 | 87.5976 | 79.987 | 199.3868 | 127.4337 | 181.3479 | 30.4089
a percentage relative to the average annual load
b the percentage dissolved is watershed specific based on Table 4-8
c percentage relative to the total storm-related annual load
d percentage relative to the non-storm-related annual load
1 94% of the average annual load; based on the average of storm-related flows measured at Zone 4 Line A and North Richmond Pump Station
2 6% of the average annual load; based on the average of summer and winter non-storm flow measured at Zone 4 Line A and North Richmond Pump Station
3 92% of the average annual load; based on the continuous loads method
4 14% of average annual load; this number is the average of the two methods (the recurrence interval method and the continous loads method) used to estimate the loads delivered to the PMU in different types of storm events.
5 the percentage dissolved is watershed specific and based on the average estimated by the relationship of the dissolved proportion and imperviousness or old industrial area in six measured Bay Area watersheds.
6 48% of the storm-related PCB load; based on the average of six samples collected in Zone 4 Line A and a sampling site in Richmond.
7 22% of the storm-related PCB load; based on the average of six samples collected in Zone 4 Line A and a sampling site in Richmond.
8 31% of the storm-related PCB load; based on the average of six samples collected in Zone 4 Line A and a sampling site in Richmond.
9 81% of the PCB load transported during non-storm periods; based on the average of 10 watersheds discussed in the literature which had distinct storm versus dry weather sampling.

## RH Calcs
|  |  | 1:1 Storm |  |  |  | 1:5 Storm |  |  |  | 1:10 Storm
Watersheds | Total Annual Load Best Estimate (g) | Annual Runoff (m3) | Load (g) | Volume (m3) | Duration (h) | Flow (m3/s) | Load (g) | Volume (m3) | Duration (h) | Flow (m3/s) | Load (g) | Volume (m3) | Duration (h) | Flow (m3/s)
Atherton Ck | 160.691 | 3524209.019 | 7.8739 | 172686.2419 | 3 | 15.9895 | 15.7477 | 345372.4839 | 6 | 15.9895 | 19.1222 | 419380.8733 | 7.2857 | 15.9895
Bayfront Park | 1.5075 | 82980.513 | 0.073866 | 4066.0451 | 3 | 0.37649 | 0.14773 | 8132.0903 | 6 | 0.37649 | 0.17939 | 9874.681 | 7.2857 | 0.37649
Cordilleras Ck | 71.226 | 2231592.982 | 3.4901 | 109348.0561 | 3 | 10.1248 | 6.9801 | 218696.1123 | 6 | 10.1248 | 8.4759 | 265559.5649 | 7.2857 | 10.1248
Pulgas Ck | 110.9711 | 2137934.885 | 5.4376 | 104758.8094 | 3 | 9.6999 | 10.8752 | 209517.6187 | 6 | 9.6999 | 13.2056 | 254414.2513 | 7.2857 | 9.6999
Redwood Ck & Arroyo Ojo de Agua Ck | 175.25 | 5878148.507 | 8.5872 | 288029.2769 | 3 | 26.6694 | 17.1745 | 576058.5537 | 6 | 26.6694 | 20.8547 | 699499.6724 | 7.2857 | 26.6694
Redwood Shores Lagoon | 4.7484 | 800845.5104 | 0.23267 | 39241.43 | 3 | 3.6335 | 0.46534 | 78482.86 | 6 | 3.6335 | 0.56506 | 95300.6157 | 7.2857 | 3.6335
SMC_unk15 | 101.3033 | 758904.2189 | 4.9639 | 37186.3067 | 3 | 3.4432 | 9.9277 | 74372.6135 | 6 | 3.4432 | 12.0551 | 90309.6021 | 7.2857 | 3.4432